St. James Parish

No. Company Station Description

150909131 Modification

Zen-Noh Grain Consolidated 3305+00 To modify original LONO which includes disposing the excavated material from

(+11) Through T.E. Ibberson the batture to be placed on the protected side of the levee via dump trucks,

instead of on the adjacent batture as originally proposed

16021005 Motiva Enterprises, LLC 3105+00 To drill two (2) soil borings

(+11) Through Fugro Consultants

**Waiver granted 2/17/16 – Removal of slab, placement of fill and install timber piles (+13)**

151211178 Zen-Noh Grain Corporation 3315+00 To expand an existing warehouse building, directional bore a 4-inch fire water

(+11) Through Spartan line and to install a new catch basin

**Waiver granted 2/18/16 – Excavations (+13)**

15051555 AT&T b/w 3408 To directional bore 15,470 ft and install inner duct flex pipe and fiber optic cable

(+11) Through Byers Engineering & 3560 on Hwy 44

09061538 Modification 2

Nucor Steel 3380+00 To modify original LONO which includes the revision to the original barge

(+15) Through Lanier & Assoc. fleeting layout

160226010 Entergy Louisiana, LLC 3884+00 To install three (3) new poles and two (2) anchors for service at 4334 Belmont Rd.

(+11) Through Land Management Svs.

**Waiver granted 2/29/16 – To excavate and drive piles (+13)**

150910136 Raven Energy, LLC of LA 3455+00 To construct a new access ramp, a pile-supported bridge, excavate drainage

(+11) Through CK Associates ditches, and remove and replace a chain link fence at the Convent Marine

Terminal

St. James Parish

No. Company Station Description

**Waiver granted 2/24/16 – to grade and place 18 inches of gravel at Laydown Area 1 only (+13)**

150909131 Zen-Noh Grain Corporation 3305+00 To construct the Terminal Dock Expansion project to include dredging in the

(+11) Through T.E. Ibberson Co. Mississippi River, a new levee access ramp and conveyor support system across

(+15) piles in batture and on flood side the left descending Mississippi River levee and barge/shipping dock structures

on the batture

St. Peter Chanel School – To hold a run on the levee/crown/servitude on Saturday, March 12, 2016

160302013 AT&T 3985+00 To install a new 50 foot Class 3 power pole and 2 anchors and guys along Hwy

(+11) Through Byers Engineering 642 and Perry Road

160302015 Mosaic Fertilizer, LLC 3503+00 To drill 12 soil borings

(+15) Through Ardaman & Assoc.

160405017 Mosaic Fertilizer, LLC 3500+00 To drill one (1) soil boring

(+13) Through Ardaman & Assoc.

160428026 St. James Stevedoring 3625+00 To install light poles and to perform shallow foundations

(+11) Through Deumite Construction

160524039 St. James Parish Government b/w 3880 To replace six (6) poles to upgrade the existing warning system

(+12) & 3091

160601042 AT&T 3165+00 To place a new aerial fiber optic cable on existing utility pole and place a new

(+11) Through Byers Engineering anchor in guy at 10214 Hwy 44

131217178 Extension

St. James Parish 3791+00 To extend the original LONO to install a new 24-inch HDPE waterline under the

(+11) Mississippi River and across the levee

St. James Parish

No. Company Station Description

160601045 Entergy New Orleans, Inc. b/w 3302 To reroute 720 feet of overhead powerline to 750 feet of underground powerline

(+11) & 3310 as part of the Zen-Noh Grain expansion via directional drill on the landside

160606046 Entergy 3205+00 To install a power pole at 9137 Keith LeBlanc Road

(+11) Through Land Management Svs.

160606047 Mosaic Uncle Sam Plant 3505+00 To replace the ball mill electrical ground grid

(+11)

140815113 Extension 2 until 08/15/17

Zen Noh Grain 3308+00 To extend LONO to dredge sand at the existing Zen Noh ship berth

160620054 PLD 4155+00 To construct the Pontchartrain Levee District New Administrative Complex-

Through Blount General Contractors Disaster Response Coordination Center at 2069 Railroad Avenue

(+13) Pile driving

(+14) Tree removal and excavations

160727074 Boardwalk LA Midstream, LLC 3199+00 To drill two (2) soil borings and perform one (1) CPT landward, and to drill one

(+11) Through GeoEngineers (1) soil boring

160727077 Entergy Louisiana, LLC 4228+00 To install one (1) new pole for service to Louisiana Sugar Refinery at 1230 S 5th

(+11) Through Land Management Svcs. Avenue

160821085 Mosaic – Uncle Sam 3510+00 To perform excavations as part of the Waste Staging Area Project

(+11) Through Jacobs

141020134 Extension until 10/20/17

Advanced Tel, LLC b/w 3150 To install an overhead power pole line and directionally drill two (2) 1.5 inch OD

(+11) & 3175+80 ducts

St. James Parish

No. Company Station Description

150909131 Extension until 9/9/18

Zen-Noh Grain 3305+00 To extend 150909131 Modification

(+11) Through TE Ibberson

15012711 Extension until 1/27/17

St. James Parish Council 3790+00 To construct a new raw water intake structure, ramp, and walkway and to install

(+11) Through Providence a 16-inch pipeline across the levee and to perform the associated work on the

protected side of the levee

160830089 Marathon Pipe Line, LLC 3557+00 To excavate around certain sections of the levee and levee road to re-coat existing

(+11) Through Salem Land Services pipes for corrosion

St. Michael’s Church – to hold a 5K Walk/Run on Sunday, October 2, 2016

160909098 Enterprise Products Operating, LLC 4234+00 To excavate and perform a pipeline test station replacement

(+11) Through Morris P. Hebert, Inc.

160909099 Convent Trace Development, LP 3625+00 To drill two (2) soil borings

(+11) Through Gulf South

160920112 Entergy Louisiana, LLC 3244+00 To install three (3) new power poles and three (3) new anchors

(+11) Through Land Management Svcs.

160930120 St. James Parish Government b/w 4195 To implement new interconnecting 8-inch and 12-inch water main lines

(+11) Through PEC & 4160

161010128 Louisiana Sugar Refinery 4215+00 To install a foundation for the 40,000 lb tank and rail loading canopy

(+11) Through VEI Global

St. James Parish

No. Company Station Description

161103135 Entergy Louisiana, LLC 4046+00 To replace one (1) power pole at 2980 Hwy 44

(+11) Through Land Management Svcs.

161214156 AT&T 3695+00 To perform excavation work and directional drill to install a fiber optic cable to

(+11) Through Byers Engineering service the Manresa Retreat House

161214158 Motiva Enterprises, LLC b/w 3088 To drill 12 soil borings

(+11) Through Eustis & 3099

161229169 AT&T 3711+00 To place a fiber optic cable at 5800 Hwy 44, crossing Hwy 44

(+11) Through Byers Engineering